These printable Pivot Cards are designed to be handed to each team at the 60-minute mark to force a mid-session revision of their plans. Each card presents a realistic challenge or opportunity that requires teams to adjust their technical layout, workforce plan, or financial ledger.

### Card 1: The AI Learning Hub (Demand Spike)

- The Scenario: Your school district has just been selected to host a regional "Sovereign AI" server farm inside your building to support the local workforce.

- The Impact: Your base energy demand has increased by 30% (+1,500 kW). Calculate the 30% increase in your average energy demand

- The Task: You must add more generation units to your map or buy a "Line Upgrade" ($500,000) to pull more from the grid.

- The Tradeoff: If you have no Storage (BESS), your peak-hour energy costs will increase by $50,000/year, hurting your ROI.

### Card 2: The Polar Vortex (Climate Extreme)

- The Scenario: A record-breaking "Polar Vortex" has dropped temperatures to −20F for two straight weeks.

- The Impact: Heating demand spikes your total peak to 7,500 kW.

- Solar PV output drops by 90% (Each 500 kW block now only gives you 50 kW).

- The Task: Evaluate if your current system can keep the school warm. If your system can't meet 7,500 kW, you must pay an emergency $300,000 Utility Surcharge.

- The Bonus: If you have Thermal Storage, your demand spike is reduced to 5,500 kW.

### Card 3: The Supply Chain Crisis (Inflation)

- The Scenario: Global trade delays have caused a critical shortage of lithium-ion batteries and specialized microchips.

- The Impact: The cost of all Storage (BESS) units has doubled to $1,000,000 per unit.

- The Task: If you are over budget, you must "sell back" a unit or pivot to a different storage method, such as Flywheels or Thermal Storage.

- The Tradeoff: Budget vs. Grid Stability.

### Card 4: The "Grid-Down" Event (Resilience Check)

- The Scenario: A severe coastal storm has severed the transmission cable to your school community.

- The Impact: The school is disconnected from the main grid.

- The Task: You must demonstrate to the mentors that your school can function as an "Island" (run independently).

- The Requirement: To pass this check, you must have at least 2,000 kWh of Storage capacity on your map. If not, your school "closes" and you lose points for reliability.

### Card 5: The Carbon Tax (Regulatory Bonus)

- The Scenario: The state has passed a strict new Carbon Tax on any public building still utilizing fossil fuels for heating.

- The Impact: If your school is 100% clean (Geothermal, Wind, Solar), your Annual Savings increase by 20% due to tax rebates.

- The Task: Recalculate your Break-Even Point on your Financial Ledger.

- The Tradeoff: High upfront costs in your plan are now paying off much faster.

### Card 6: The Maintenance Crisis (Equipment Failure)

- The Scenario: Poor weather and lack of specialized workforce training have led to the failure of a primary generation unit.

- The Impact: 25% of your primary energy source (Solar or Wind) is offline for repairs.

- The Task: Add a $500,000 Repair Fee to your Total Costs.

- The Tradeoff: You must decide: pay for the repair now, or switch to a more reliable but expensive source like Geothermal.